## Slide 1: Micro Plate Rounds
Session 8
GI pathogens

## Slide 2: BioFire FilmArray GI panel (NAAT)
Tests for 22 pathogens from stool specimens
Stool is collected in container then transferred into orange top container with Cary Blair medium
  Medium prevents replication and maintains organism viability
Biofire GI panel is not validated on other transport media (e.g. rectal swabs, endoscopy aspirates, vomitus)

## Slide 3: BioFire GI panel performance
Sensitivity and specificity varies depending on organism
  100% for 12/22 targets, ≥94.5% for 7 additional targets, prevalence too low for 3 other targets
  Specificity: ≥97.1% for all panel targets
Reflex culture is performed only on Campylobacter, Salmonella, Shigella, Vibrio, Yersinia, E. coli O157
  Facilitates outbreak investigations
  Susceptibilities are performed on Salmonella and Shigella
Buss et al, 2015
Notes: At our institution, reflex culture is performed only on:

## Slide 4: BioFire GI panel: key points and limitations
Detection of organisms does not imply organisms are infectious or cause of clinical symptoms
There is potential cross-reactivity with other organisms (e.g. ETEC with Hafnia alvei and certain strains of Citrobacter)
Certain species are not detected on this panel
Rare strains of pathogenic organisms may not carry the genetic determinants detected by the panel
Notes:   O157 - Reported only if STEC is detected to aid in identification of O157 serotype

## Slide 5: BioFire GI panel: key points and limitations
Campylobacter:
  Detects only C. jejuni, C. coli, C. upsaliensis – the most common species associated with human disease
  Positive test does not differentiate among these species
Salmonella:
  Cross-reactivity may occur with certain E. coli strains (variants of the cryptic ETT2-type III secretion system)
Yersinia:
  Detects Yersinia enterocolitia
  Potential cross-reactivity with Y. kristensenii and Y. fredriksenii when present in high levels
Notes:   Examples of these limitations:

## Slide 6: BioFire GI panel: key points and limitations
Vibrio:
  Detects only V. parahaemolyticus, V. vulnificus, V. cholerae
  False positives:
    Cary Blair media sporadically contaminated with low levels of Vibrio nucleic acid
    Presence of Vibrio species in water where seaweed/algae is harvested to make agar
  Vibrio cholerae is not reported unless it is detected in stool culture (Vibrio cholerae infection is exceedingly rare in US; in 2014, only 7 cases)

## Slide 7: Poll #1
A primary team calls you about a patient who was admitted for multiple episodes of diarrhea. The patient’s infectious GI panel result was:
The team inquires if this means the patient’s diarrhea is caused both by EAEC and STEC. The best response is:
  A. The test is incorrect and the patient should be retested
  B. The patient’s diarrhea may be due to both EAEC and STEC
  C. The patient’s diarrhea may be due to one diarrheagenic E. coli strain that has both EAEC and STEC targets on the test panel
  D. B or C are both possible

## Slide 8: Poll #1
A primary team calls you about a patient who was admitted for multiple episodes of diarrhea. The patient’s infectious GI panel result was:
The team inquires if this means the patient’s diarrhea is caused both by EAEC and STEC. The best response is:
  A. The test is incorrect and the patient should be retested
  B. The patient’s diarrhea may be due to both EAEC and STEC
  C. The patient’s diarrhea may be due to one diarrheagenic E. coli strain that has both EAEC and STEC targets on the test panel
  D. B or C are both possible

## Slide 9: BioFire GI panel: key points and limitations
E. coli
  If multiple diarrheagenic E. coli/Shigella are detected on GI panel, it may be due to a single strain containing the genetic determinants of multiple pathotypes (horizontal transfer of genes). For instance,
    2011 E. coli O104:H4 outbreak strain had determinants of both STEC and EAEC
    STEC and Shigella/EIEC:
      Shiga toxin is found in Shigella dysenteriae
      Shigella dysenteriae infection can cause positive results for both STEC and Shigella/EIEC
    EPEC: eae gene is target on GI panel
      Some STEC strains have eae gene
      When STEC detected, EPEC will be reported as N/A
      Biofire cannot distinguish between STEC containing eae and co-infection with EPEC and STEC
Notes: Panel has multiple assays to detect genetic determinants associated with E. coli diarrheagenic pathotypes

## Slide 10: Poll #2
A primary team calls you about a patient with Crohn’s disease who is admitted for multiple episodes of bloody diarrhea with mucus. They inquire if the patient’s diarrhea could still be from E. coli O157 since it was reported as “Not Applicable” on the GI panel
The best response is:
  It is reported as “Not applicable” because STEC was not detected
  B. It is reported as “Not applicable” because the Biofire GI panel is not validated to test for E. coli O157

## Slide 11: Poll #2
A primary team calls you about a patient with Crohn’s disease who is admitted for multiple episodes of bloody diarrhea with mucus. They inquire if the patient’s diarrhea could still be from E. coli O157 since it was reported as “Not Applicable” on the GI panel
The best response is:
  It is reported as “Not applicable” because STEC was not detected
  B. It is reported as “Not applicable” because the Biofire GI panel is not validated to test for E. coli O157

## Slide 12: BioFire GI panel: key points and limitations
E. Coli O157
  Subset of STEC contains O157 antigen (and flagellar H7 antigen)
  Reported only if STEC is detected
  Pathogenicity of E. coli O157 of non-STEC strains is undefined
Notes:   O157 - Reported only if STEC is detected to aid in identification of O157 serotype

## Slide 13: BioFire GI panel: key points and limitations
C. difficile
  GI Panel detects toxin A and B genes
  Detection of toxin A/B does not necessarily indicate C. difficile colitis
    All different C. difficile testing options cannot differentiate asymptomatic colonization and infection
    BioFire Panel does not take into account consistency of tested stool
  Currently, result is hidden because our lab uses a multi-step algorithm

## Slide 14
C. difficile
Testing Algorithm
(at Montefiore)
  *Highly mucoid specimens are tested directly by PCR (will not suspend in buffers for GDH and Toxin B assay)

## Slide 15
Glutamate dehydrogenase assays (GDH)
  Screening test for presence of C. difficile
  Detects GDH enzyme produced by both toxigenic and non-toxigenic strains of C. difficile
  Sensitive but poor specificity
Toxin detection (EIA or chromatographic methods)
  Toxin testing alone may miss clinically significant disease (sensitivity of 70-85%)
  Assays detecting both toxin A or B improves sensitivity (some strains produce only Toxin B and not Toxin A)
C. difficile Testing Algorithm

## Slide 16
C. difficile Quik Check Complete
Simultaneous detection of GDH antigens and toxins A/B
Notes: Ag- GDH
Toxin-

## Slide 17
Nucleic Acid Amplification Tests (Cepheid Xpert C. difficile assay)
  Detects presence of C. difficile bacteria capable of producing toxin, not the toxin itself
  Stand-alone NAAT may lead to misdiagnosis and overtreatment for CDI:
    Lacks clinical specificity
    Hospitalized patients often have multiple reasons for diarrhea
    Most NAAT (+), toxin (-) patients recover spontaneously without treatment, generally do not have CDI as cause of symptoms, and have similar duration of symptoms to CDI negative patients
  In our lab, NAAT used to arbitrate discrepant GDH and EIA toxin results
  Studies on asymptomatic NAAT screening suggest it can decrease in hospital, horizontal transmission by facilitating early implementation of infection control and prevention practices
C. difficile Testing Algorithm
Fang, Polage, and Wilcox, 2017

## Slide 18
CDI is a clinical diagnosis. All of the testing options cannot differentiate between colonization and infection.
Improve lab test relevance by testing the appropriate population:
  Unexplained, new onset ≥ 3 unformed stools stools in 24 hours
  Not on laxatives in last 48 hrs
  Submit stool in empty container to assess consistency. Reject specimens that do not take the shape of the container (ileus is the rare exception)
Each test (GDH, toxin, NAAT) has limitations; IDSA-SHEA recommends a multistep testing algorithm
C. difficile Testing Key Points

## Slide 19
Gram Negative Bacilli
Gram Negative Bacilli
lactose fermenters
non lactose fermenters
oxidase (+)
oxidase (-)
*also oxidase (-)
*sometimes NLF
Stenotrophomonas
Acinetobacter
Shigella
Salmonella
Proteus: swarming, urease +
mirabilis, penneri: indole +
vulgaris: indole -
Yersinia
Burkholderia
Pseudomonas
Campylobacter
Vibrio
Aeromonas
Klebsiella: mucoid (2/2 capsule), urease +
pneumoniae indole -
oxytoca indole +
E. coli
Indole +
Urease -
Enterobacter
Citrobacter
Serratia
slow
fast

## Slide 20
Selective and differential media that cultivates gram (-) enteric organisms
Selective due to bile salts:
  Inhibits gram + organisms
  Slows growth of normal intestinal microbiota (except for Salmonella and Shigella)
Differential due to lactose, sucrose, ferric salts
  Lactose fermentation
  H2S production
Hektoen Enteric Agar (HEA)

## Slide 21: Poll #3
A 18 year old presents to the ED with abdominal discomfort and dysentery. She recently returned from India. The following non – lactose fermenting organism was recovered from the stool. Growth on Hektoen Enteric agar is shown below. The organism is most likely
A. Shigella
B. Salmonella
C. E. coli 0157:H7
D. Vibrio cholerae

## Slide 22: Poll #3
A 18 year old presents to the ED with abdominal discomfort and dysentery. She recently returned from India. The following non – lactose fermenting organism was recovered from the stool. Growth on Hektoen Enteric agar is shown below. The organism is most likely
A. Shigella
B. Salmonella
C. E. coli 0157:H7
D. Vibrio cholerae

## Slide 23
Lactose fermentation
  E. coli: ferments lactose forming appear as bright orange – salmon pink colonies
  Salmonella and Shigella: lactose non fermenters, appear as green– blue colonies
Hektoen Enteric Agar (HEA)

## Slide 24
H2S production
  Salmonella produces H2S which reacts with iron forming colonies with black centers (FeS)
    *there are exceptions
  Shigella: does not produce H2S so colonies remain green-blue
Hektoen Enteric Agar (HEA)
Notes: FeS: iron sulfide

## Slide 25: Appearance on HEA
Organism | Appearance
E. coli | Large, yellow to salmon color; some strains inhibited
Enterobacter/Klebsiella | Large, yellow to salmon color
Proteus | Variable, blue-green to blue or salmon, most strains with black center or completely black
Salmonella | Blue-green to blue; most strains with black center or completely black
Shigella | Green and moist, raised
Pseudomonas | Irregular, green to brown
Gram-positive bacteria | No growth to slight growth

## Slide 26: Case
11 year old girl who traveled to Bangladesh 4 – 6 weeks ago presenting for 6 days of fever (Tmax 102.9), emesis, and non-bloody diarrhea.
BCx:
The GI pathogen panel is positive and reflexes to a stool culture

## Slide 27: Case
BAP:
  Large, gray-white smooth colonies (usually)
  Colonies may also appear rough
MacConkey:
  Pale – colorless
  Non lactose fermenter
HE agar:
  Green to blue-green colonies

## Slide 28: Poll #4
The organism is a non lactose fermenter with green-blue colonies without black centers on HE agar. It is inoculated into Motility Indole Orthinine Medium. There is growth extending from the line of inoculation indicating motility.
What is the most likely organism?
A. Shigella
B. Salmonella typhi
C. Yersinia enterocolitia
D. E. coli
E. Unsure, could be A or B
Motility Indole Orthinine (MIO) Medium
non motility
(+)
motility
Notes: Motile organism will grow extending from the line of inoculation. Nonmotile organisms grow only along the line of inoculation.

## Slide 29: Poll #4
The organism is a non lactose fermenter with green-blue colonies without black centers on HE agar. It is inoculated into Motility Indole Orthinine Medium. There is growth extending from the line of inoculation indicating motility.
What is the most likely organism?
A. Shigella
B. Salmonella typhi
C. Yersinia enterocolitia
D. E. coli
E. Unsure, could be A or B
Motility Indole Orthinine (MIO) Medium
(+)
motility
Notes: Motile organism will grow extending from the line of inoculation. Nonmotile organisms grow only along the line of inoculation.

## Slide 30: Salmonella vs. Shigella
H2S production:
  Shigella does not produce H2S
  Although most Salmonella species are H2S producers,
    Salmonella typhi is a weak – trace H2S producer (thus black colonies may not appear on HE agar).
    Salmonella paratyphi A rarely produces H2S
Motility:
  Salmonella: motile
  Shigella: non - motile
Salmonella typhi

## Slide 31: Salmonella
Can be classified by:
  Species: Salmonella enterica (type species, further into subspecies e.g. S. enterica subsp. enterica), Salmonella bongori
  Serotype based on antigenic determinants (O, K, H)
    If identified based on O antigen: designated into serogroups A, B, C1, C2, D, and E
      Salmonella typhi: serogroup D, Vi positive
  Clinical patterns: typhoidal, non-typhoidal
Manifestations: enteric fever, gastroenteritis, bacteremia and other extra-intestinal complications, chronic carrier state
CDC, 2019

## Slide 32: Salmonella
Susceptibility testing
  Routine AST not required for non-typhoidal Salmonella isolated from stool
  Stool: Ampicillin, fluoroquinolone, TMP-SMX
  Extra-intestinal: Ampicillin, fluoroquinolone, TMP-SMX, 3rd generation cephalosporin
  Only Salmonella enterica sero typhi has an established azithromycin breakpoint

## Slide 33: Salmonella
Resistance: mainly due to antibiotic use in animal feed
  Worldwide, high rates of resistance to TMP-SMX, fluoroquinolones, ampicillin
  Most strains remain susceptible to ceftriaxone
CDC, 2019

## Slide 34: Shigella
4 serogroups can be differentiated via slide agglutiniation antisera test (A: S. dysenteriae, B: S. flexneri, C: S. boydii, D: S. sonnei)
Microbiological characteristics:
  Non-motile
  Flattened colonies, non lactose fermenter
  HE agar: clear with green appearance
Humans only host and reservoir. Spread through fecal-oral, contaminated water/food, sexual transmission
Low inoculum required to cause disease (as low as 10 organisms)
Complications: bacteremia, HUS (most commonly S. dysenteriae; unlike that for EHEC, abx treatment does not increase rates of HUS), neurological symptoms, leukomoid reaction
Notes: Hemolytic-uremic syndrome is a complication that may occur with shiga-toxin producing Shigella (the most commonly associated is S. dysenteriae).

## Slide 35: Shigella
Susceptibilities:
  AST performed on Shigella isolated from all sources
  Rising resistance rates is a concern, especially reduced susceptibilities of ciprofloxacin and azithromycin in HIV-infected individuals or MSM
  Azithromycin:
    No standardized CLSI breakpoint
    Can be requested, but cut-offs are based on epidemiological values
CDC, 2019
Notes:   Fluoroquinolone resistance is 20 – 30% in Asia - Africa
  TMP-SMX 65 – 85% resistance in Asia – Africa

## Slide 36
58 year old woman presented for progressive quadriparesis over the past 2 days. Symptoms began in lower extremities, progressed to upper extremities. Two weeks ago she had a diarrheal illness that lasted 3 days associated with bloody stools after eating undercooked chicken.
Her infectious GI panel was positive and a reflex stool culture was performed.
Case

## Slide 37: Poll #5
What is the most likely gram stain appearance of her organism that grew in her stool culture?
A. Comma shaped
B. Lancet shaped
C. Big, boxy
D. Safety pin appearance
E. Seagull-shaped/gull wing

## Slide 38: Poll #5
What is the most likely gram stain appearance of her organism that grew in her stool culture?
A. Comma shaped
B. Lancet shaped
C. Big, boxy
D. Safety pin appearance
E. Seagull-shaped/gull wing

## Slide 39: Campylobacter jejuni
Microbiological characteristics:
  Small, curved gram negative rods (S or C shaped, or gull wing shaped)
  Growth supported by selective Campy CVA agar
  Plates are incubated at 42oC and microaerophilic conditions
  Oxidase (+)
Food associations: Raw – undercooked poultry, raw milk/cheese, contaminated water/produce, cat/dog feces
Notes: Grows grow at 37-42C, but plates are usually incubated at 42 for best growth and because it inhibits less thermotolerant gut flora

## Slide 40: Campylobacter jejuni
Non GI associations:
  Guillian-Barre syndrome: cross-reactivity between organism and neural ganglioside epitomes.
    Seen in 1 – 2/10,000 cases of Campylobacteriosis
    Of those with GBS, 20 – 40% will have a history of C. jejuni infection.
  Reactive arthritis: 2.6% of cases, occurs 1 – 2 weeks after infection

## Slide 41
Poll #6
Campylobacter jejuni is intrinsically resistant to which class of antibiotics?
Cephalosporins
Macrolides
Fluoroquinolones

## Slide 42
Poll #6
Campylobacter jejuni is intrinsically resistant to which class of antibiotics?
Cephalosporins
Macrolides
Fluoroquinolones
Treatment:
  Macrolides (resistance approaches 1.7%)
  Fluoroquinolones (resistance rates of 20 – 27% in the US)
  Intrinsically resistant to cephalosporins

## Slide 43
Gram Negative Bacilli
Gram Negative Bacilli
lactose fermenters
non lactose fermenters
oxidase (+)
oxidase (-)
*also oxidase (-)
*sometimes NLF
Shigella: non motile, no H2S production
Salmonella: motile, H2S production (generally)
Proteus: swarming, urease +
mirabilis, penneri: indole +
vulgaris: indole -
Yersinia enterocolitia
Burkholderia
Pseudomonas
Campylobacter:
seagull winged shaped microaerophilic, 37 – 42oC
Vibrio
Aeromonas
Klebsiella: mucoid (2/2 capsule), urease +
pneumoniae indole -
oxytoca indole +
E. coli
Indole +
Urease -
Enterobacter
Citrobacter
Serratia
slow
fast